## Slide 1: FINBEL ECG
Veli-Pekka Porrassalmi
Marko Ylikulju
Chingiz Mizambekov
Steven Dijcks

## Slide 2: Hardware Device
Veli-Pekka & Marko

## Slide 3: The Circuit
Amplifier
Low pass / High pass filter
Summing amplifier
RC filter
A/D conversion
SD card

## Slide 5: Amplifier
2x INA128-instrumentation amplifiers
Gain(Au) = ~107
3x Electrodes
  Lead(1)
  Lead(2)
  Lead(ref)
2x ECG signal outputs
  U(o1)
  U(o2)

## Slide 6: Bandpass filter
Pass band 0,3Hz … 50Hz
LF353N opamp
First part low rejection
Second part high rejection

## Slide 7: Summing amplifier
Purpose to raise the voltage level
  ECG signal >0V
  Enables the A/D conversion on Arduino MCUs’
LM741

## Slide 8: RC lowpass filter
Removing noise before A/D conversion
Cut-off frequency>40,8Hz

## Slide 9: Flowchart of Firmware Simplified

## Slide 12: Front & Back-end Website
Chingiz & Steven

## Slide 13: FINBEL ECG App
MEAN App
Full control over client and server side
App runs on a RPi server at home

## Slide 14: General Features
Create profile
Login to personalized dashboard with sessions
User input validation
Feedback on all forms
Contact form to send emails
List of nearby hospitals in Antwerp

## Slide 15: Personal Dashboard
View profile info
Upload new record (.json)
View all the records
Algorithm analyzing your records
Button to share your records with a doctor

## Slide 16: Original Goals
Hardware
  Device to measure the ECG
Software
  Create account and login to personal space
  Upload ECG
  Display ECG
  Analyse ECG
  Contact product owners
  Share ECG with doctor
  Extra
    List of nearby hospitals in Antwerp

## Slide 17: Algorithm

## Slide 18: Normal ECG
R Peak
QRS Complex
P Wave
P-R Interval
R-R Interval
BPM

## Slide 19: Arrhythmia’s we can detect:

## Slide 21: Demonstration